## Slide 1: Thermal Loop Data Graphs

## Slide 2: Test #1: Pump Heat up
Middle valve open
Upper valve open
Heat exchange increments of 0.5 gal/min every 30 mins starting at hour 6
PDF name- Full_PumpHeat(HeatExchange.flow.vo)
Raw Data File name
PumpHeat_HeatExhanger.flow.vo

## Slide 3
0.511 gal/min flow rate
1.022 gal/min flow rate
1.500 gal/min flow rate
2.001 gal/min flow rate
Test #1: Additional close up data
PDF name- PumpHeat_HeatExchange.flow.vo
PDF name- PumpHeat_up_6_hours.vo

## Slide 4: Test #2: Pump Heat up
Middle valve closed
Upper valve open
Heat exchanger 0.5 gal/min flow rate at 6 hours
PDF name- Full_PumpHeat(HeatExchange.0.5flow.vc)
Raw Data File name PumpHeat_HeatExchanger.0.5flow.vc.

## Slide 5
Test #2: Additional close up data
0.511 gal/min flow rate
PDF name- PumpHeat_up_6_hours.vc
PDF name- PumpHeat_HeatExchange_0.5gal._flow.vc

## Slide 6: Test #3: Rod Heat up
Middle Valve closed
Upper Valve open
Heat Exchanger 0.5 gal/min at 4.5 hours
PDF name- Full_RodHeat(HeatExchange.flow.vc)
Raw Data File name
RodHeat_NewData

## Slide 7
Test #3: Additional close up data
0.511 gal/min flow rate
PDF name- RodHeat_0.5_gal_flow.vc
PDF name- RodHeat_6_hours.vc